## InstanceHierarchy
Element ID | Element Name | Attribute Name | Attribute Type | Attribute Value
f7c2787c-108a-4317-b02b-311bce73cfc9 | PROFIBUS_1 | Type | xs:string | Profibus
007338e9-b933-4932-9894-95d43845dbaa | PN/IE_1 | Type | xs:string | Ethernet
71e957d6-8bda-48c1-9308-34f9b3f984c2 | PN/IE_2 | Type | xs:string | Ethernet
c54b45fa-f8a9-4e63-99b8-e23664e39d01 | GSD device_1 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/D
8c56ef73-bcec-4c09-89f3-d1a5ba1c4125 | Rack_0 | PositionNumber | xs:int | 0
8c56ef73-bcec-4c09-89f3-d1a5ba1c4125 | Rack_0 | BuiltIn | xs:boolean | false
8c56ef73-bcec-4c09-89f3-d1a5ba1c4125 | Rack_0 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/R
c5c5c1b5-3252-466a-a655-cc750277bcbd | MKS | DeviceItemType | xs:string | HeadModule
c5c5c1b5-3252-466a-a655-cc750277bcbd | MKS | PositionNumber | xs:int | 0
c5c5c1b5-3252-466a-a655-cc750277bcbd | MKS | BuiltIn | xs:boolean | false
c5c5c1b5-3252-466a-a655-cc750277bcbd | MKS | TypeIdentifier | xs:string | GSD:SI01818E.GSD/DAP
c5c5c1b5-3252-466a-a655-cc750277bcbd | MKS | InstallationDate | xs:dateTime | 2017-10-05T13:12:56.2697914Z
6b90f919-4307-4025-a583-6d0430148f3d | DP interface | Label | xs:string | X1
6b90f919-4307-4025-a583-6d0430148f3d | DP interface | BuiltIn | xs:boolean | true
a0dff769-c827-4cf6-bfae-1dc6c1590357 | PB1 | Type | xs:string | Profibus
a0dff769-c827-4cf6-bfae-1dc6c1590357 | PB1 | NetworkAddress | xs:string | 6
662c1c20-d28d-41be-883f-37796572a3c5 | 32 Word Output_1 | PositionNumber | xs:int | 1
662c1c20-d28d-41be-883f-37796572a3c5 | 32 Word Output_1 | BuiltIn | xs:boolean | false
662c1c20-d28d-41be-883f-37796572a3c5 | 32 Word Output_1 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/M/26
662c1c20-d28d-41be-883f-37796572a3c5 | 32 Word Output_1 | Address
5ea961c1-c43d-4806-9127-521d2c424459 | 2 Word Output_1 | PositionNumber | xs:int | 2
5ea961c1-c43d-4806-9127-521d2c424459 | 2 Word Output_1 | BuiltIn | xs:boolean | false
5ea961c1-c43d-4806-9127-521d2c424459 | 2 Word Output_1 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/M/18
5ea961c1-c43d-4806-9127-521d2c424459 | 2 Word Output_1 | Address
80a5a55a-11d8-48f5-97c3-0f4f453bd032 | 32 Word Input_1 | PositionNumber | xs:int | 3
80a5a55a-11d8-48f5-97c3-0f4f453bd032 | 32 Word Input_1 | BuiltIn | xs:boolean | false
80a5a55a-11d8-48f5-97c3-0f4f453bd032 | 32 Word Input_1 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/M/25
80a5a55a-11d8-48f5-97c3-0f4f453bd032 | 32 Word Input_1 | Address
2c83bd12-2491-45ce-8cc0-ddc0f1ca0c65 | 2 Word Input_1 | PositionNumber | xs:int | 4
2c83bd12-2491-45ce-8cc0-ddc0f1ca0c65 | 2 Word Input_1 | BuiltIn | xs:boolean | false
2c83bd12-2491-45ce-8cc0-ddc0f1ca0c65 | 2 Word Input_1 | TypeIdentifier | xs:string | GSD:SI01818E.GSD/M/70000
2c83bd12-2491-45ce-8cc0-ddc0f1ca0c65 | 2 Word Input_1 | Address
cc3df2fd-803b-4df4-aceb-543368a5c401 | S71500/ET200MP station_K84_2 | TypeIdentifier | xs:string | System:Device.S71500
63707ca5-c948-44e6-bad8-f97023559c1b | Rail_0 | TypeName | xs:string | Rack
63707ca5-c948-44e6-bad8-f97023559c1b | Rail_0 | PositionNumber | xs:int | 0
63707ca5-c948-44e6-bad8-f97023559c1b | Rail_0 | BuiltIn | xs:boolean | false
63707ca5-c948-44e6-bad8-f97023559c1b | Rail_0 | TypeIdentifier | xs:string | OrderNumber:6ES7 590-1***0-0AA0
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | TypeName | xs:string | IM 155-5 PN ST
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | DeviceItemType | xs:string | HeadModule
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | PositionNumber | xs:int | 1
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | BuiltIn | xs:boolean | false
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 155-5AA01-0AB0
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
09481ac3-ef46-4971-9774-214f9d1dd395 | IO device_1 | FirmwareVersion | xs:string | V4.1
80c5f172-d196-45a8-a15f-a1886edbceda | IO device_1 | PositionNumber | xs:int | 0
80c5f172-d196-45a8-a15f-a1886edbceda | IO device_1 | BuiltIn | xs:boolean | true
37591b9f-75a6-4809-bdcf-3fd10414c25d | PROFINET interface | Label | xs:string | X1
37591b9f-75a6-4809-bdcf-3fd10414c25d | PROFINET interface | PositionNumber | xs:int | 1
37591b9f-75a6-4809-bdcf-3fd10414c25d | PROFINET interface | BuiltIn | xs:boolean | true
80afe9e0-26e7-4b15-a639-c87e0fcb7a00 | IE1 | SubnetMask | xs:string | 255.255.0.0
80afe9e0-26e7-4b15-a639-c87e0fcb7a00 | IE1 | IpProtocolSelection | xs:string | Project
80afe9e0-26e7-4b15-a639-c87e0fcb7a00 | IE1 | ProfinetDeviceName | xs:string | io device_1
80afe9e0-26e7-4b15-a639-c87e0fcb7a00 | IE1 | Type | xs:string | Ethernet
80afe9e0-26e7-4b15-a639-c87e0fcb7a00 | IE1 | NetworkAddress | xs:string | 10.124.0.1
5eeeda2f-5550-4522-b29d-d1d89925a5eb | Port_1 | Label | xs:string | P1 R
5eeeda2f-5550-4522-b29d-d1d89925a5eb | Port_1 | PositionNumber | xs:int | 1
5eeeda2f-5550-4522-b29d-d1d89925a5eb | Port_1 | BuiltIn | xs:boolean | true
9cf83c1c-6034-4c29-94c7-636072d031cd | Port_2 | Label | xs:string | P2 R
9cf83c1c-6034-4c29-94c7-636072d031cd | Port_2 | PositionNumber | xs:int | 2
9cf83c1c-6034-4c29-94c7-636072d031cd | Port_2 | BuiltIn | xs:boolean | true
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | TypeName | xs:string | AI 8xU/I/RTD/TC ST
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | PositionNumber | xs:int | 2
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | BuiltIn | xs:boolean | false
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 531-7KF00-0AB0
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
7affa1d7-484f-45f6-9f7e-04f308ae00e9 | AI 8xU/I/RTD/TC ST_1 | FirmwareVersion | xs:string | V2.0
cff31b35-aa15-4a5a-b312-9931e6db33f1 | AI 8xU/I/RTD/TC ST_1 | PositionNumber | xs:int | 1
cff31b35-aa15-4a5a-b312-9931e6db33f1 | AI 8xU/I/RTD/TC ST_1 | BuiltIn | xs:boolean | true
cff31b35-aa15-4a5a-b312-9931e6db33f1 | AI 8xU/I/RTD/TC ST_1 | Address
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | TypeName | xs:string | AI 8xU/I/RTD/TC ST
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | PositionNumber | xs:int | 3
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | BuiltIn | xs:boolean | false
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | TypeIdentifier | xs:string | OrderNumber:6ES7 531-7KF00-0AB0
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
36de54c3-81f1-45e5-925e-e5980dc823dd | AI 8xU/I/RTD/TC ST_2 | FirmwareVersion | xs:string | V2.0
9860f5cc-f1e2-49a0-84e8-00482fc4f51c | AI 8xU/I/RTD/TC ST_2 | PositionNumber | xs:int | 1
9860f5cc-f1e2-49a0-84e8-00482fc4f51c | AI 8xU/I/RTD/TC ST_2 | BuiltIn | xs:boolean | true
9860f5cc-f1e2-49a0-84e8-00482fc4f51c | AI 8xU/I/RTD/TC ST_2 | Address
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | TypeName | xs:string | AI 8xU/I/RTD/TC ST
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | PositionNumber | xs:int | 4
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | BuiltIn | xs:boolean | false
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | TypeIdentifier | xs:string | OrderNumber:6ES7 531-7KF00-0AB0
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
de52e284-2e21-48e8-abfb-b4af8bc88f4e | AI 8xU/I/RTD/TC ST_3 | FirmwareVersion | xs:string | V2.0
b86735a6-f6f1-47fc-949f-16311fe39c0c | AI 8xU/I/RTD/TC ST_3 | PositionNumber | xs:int | 1
b86735a6-f6f1-47fc-949f-16311fe39c0c | AI 8xU/I/RTD/TC ST_3 | BuiltIn | xs:boolean | true
b86735a6-f6f1-47fc-949f-16311fe39c0c | AI 8xU/I/RTD/TC ST_3 | Address
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | TypeName | xs:string | AQ 8xU/I HS
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | PositionNumber | xs:int | 5
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | BuiltIn | xs:boolean | false
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 532-5HF00-0AB0
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
428b59fa-d569-43e8-b79c-47351d4abdad | AQ 8xU/I HS_1 | FirmwareVersion | xs:string | V2.0
72273fbb-dacf-4652-be86-df24c983b7cf | AQ 8xU/I HS_1 | PositionNumber | xs:int | 1
72273fbb-dacf-4652-be86-df24c983b7cf | AQ 8xU/I HS_1 | BuiltIn | xs:boolean | true
72273fbb-dacf-4652-be86-df24c983b7cf | AQ 8xU/I HS_1 | Address
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | TypeName | xs:string | AQ 8xU/I HS
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | PositionNumber | xs:int | 6
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | BuiltIn | xs:boolean | false
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | TypeIdentifier | xs:string | OrderNumber:6ES7 532-5HF00-0AB0
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
a0416d5e-5d41-4211-bfa7-c8b96074f8db | AQ 8xU/I HS_2 | FirmwareVersion | xs:string | V2.0
20bcbadf-3201-4258-a473-09ec285e4900 | AQ 8xU/I HS_2 | PositionNumber | xs:int | 1
20bcbadf-3201-4258-a473-09ec285e4900 | AQ 8xU/I HS_2 | BuiltIn | xs:boolean | true
20bcbadf-3201-4258-a473-09ec285e4900 | AQ 8xU/I HS_2 | Address
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | TypeName | xs:string | DQ 32x24VDC/0.5A BA
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | PositionNumber | xs:int | 7
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | BuiltIn | xs:boolean | false
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 522-1BL10-0AA0
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
51eab3d5-5640-4cf5-adec-5dc8a8d1ac6c | DQ 32x24VDC/0.5A BA_1 | FirmwareVersion | xs:string | V1.0
b0b3fd6a-8c21-46f7-90af-3b1a25b86347 | DQ 32x24VDC/0.5A BA_1 | PositionNumber | xs:int | 1
b0b3fd6a-8c21-46f7-90af-3b1a25b86347 | DQ 32x24VDC/0.5A BA_1 | BuiltIn | xs:boolean | true
b0b3fd6a-8c21-46f7-90af-3b1a25b86347 | DQ 32x24VDC/0.5A BA_1 | Address
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | TypeName | xs:string | DI 32x24VDC BA
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | PositionNumber | xs:int | 8
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | BuiltIn | xs:boolean | false
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 521-1BL10-0AA0
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
42088162-3db0-438e-89de-69aab319135d | DI 32x24VDC BA_1 | FirmwareVersion | xs:string | V1.0
7a05bfb0-0c7c-4a75-aac3-1fc92ab87747 | DI 32x24VDC BA_1 | PositionNumber | xs:int | 1
7a05bfb0-0c7c-4a75-aac3-1fc92ab87747 | DI 32x24VDC BA_1 | BuiltIn | xs:boolean | true
7a05bfb0-0c7c-4a75-aac3-1fc92ab87747 | DI 32x24VDC BA_1 | Address
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | TypeName | xs:string | PS 25W 24VDC
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | PositionNumber | xs:int | 9
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | BuiltIn | xs:boolean | false
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 505-0KA00-0AB0
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
a87cfe3e-1347-4cbf-8fb6-cd01510d687a | PS 25W 24VDC_1 | FirmwareVersion | xs:string | V1.0
e8089ec3-228c-4aab-a066-70655e66b8dd | PS 25W 24VDC_1 | PositionNumber | xs:int | 1
e8089ec3-228c-4aab-a066-70655e66b8dd | PS 25W 24VDC_1 | BuiltIn | xs:boolean | true
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | TypeName | xs:string | TM Timer DIDQ 16x24V
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | PositionNumber | xs:int | 10
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | BuiltIn | xs:boolean | false
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 552-1AA00-0AB0
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
0c3679e8-bffa-407e-9c37-301a614b6424 | TM Timer DIDQ 16x24V_1 | FirmwareVersion | xs:string | V1.0
465bce70-bfad-4b4f-82c5-e13aff5a3dfb | TM Timer DIDQ 16x24V_1 | PositionNumber | xs:int | 1
465bce70-bfad-4b4f-82c5-e13aff5a3dfb | TM Timer DIDQ 16x24V_1 | BuiltIn | xs:boolean | true
465bce70-bfad-4b4f-82c5-e13aff5a3dfb | TM Timer DIDQ 16x24V_1 | Address
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | TypeName | xs:string | TM Timer DIDQ 16x24V
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | PositionNumber | xs:int | 11
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | BuiltIn | xs:boolean | false
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | TypeIdentifier | xs:string | OrderNumber:6ES7 552-1AA00-0AB0
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
8bd95160-5e30-4597-b472-e6b40eddaa9a | TM Timer DIDQ 16x24V_2 | FirmwareVersion | xs:string | V1.0
aabb85c5-129e-41fd-8286-7080b1ba102a | TM Timer DIDQ 16x24V_2 | PositionNumber | xs:int | 1
aabb85c5-129e-41fd-8286-7080b1ba102a | TM Timer DIDQ 16x24V_2 | BuiltIn | xs:boolean | true
aabb85c5-129e-41fd-8286-7080b1ba102a | TM Timer DIDQ 16x24V_2 | Address
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | TypeName | xs:string | AI 8xU/R/RTD/TC HF
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | PositionNumber | xs:int | 12
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | BuiltIn | xs:boolean | false
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | TypeIdentifier | xs:string | OrderNumber:6ES7 531-7PF00-0AB0
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | InstallationDate | xs:dateTime | 2020-11-16T14:18:00.7561776Z
328faf61-cdcd-419a-89a2-cd598927ceb1 | AI 8xU/R/RTD/TC HF_1 | FirmwareVersion | xs:string | V1.0
ba9bbbec-1abb-451b-8ede-91a716ac58b9 | AI 8xU/R/RTD/TC HF_1 | PositionNumber | xs:int | 1
ba9bbbec-1abb-451b-8ede-91a716ac58b9 | AI 8xU/R/RTD/TC HF_1 | BuiltIn | xs:boolean | true
ba9bbbec-1abb-451b-8ede-91a716ac58b9 | AI 8xU/R/RTD/TC HF_1 | Address
4fa6c558-a3dc-4c1b-8a69-0588c489e8c5 | S71500/ET200MP station_K755 | TypeIdentifier | xs:string | System:Device.S71500
295a5375-64db-439a-ac66-40288a5f54fd | Rail_0 | TypeName | xs:string | Rack
295a5375-64db-439a-ac66-40288a5f54fd | Rail_0 | PositionNumber | xs:int | 0
295a5375-64db-439a-ac66-40288a5f54fd | Rail_0 | BuiltIn | xs:boolean | false
295a5375-64db-439a-ac66-40288a5f54fd | Rail_0 | TypeIdentifier | xs:string | OrderNumber:6ES7 590-1***0-0AA0
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | TypeName | xs:string | CPU 1515-2 PN
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | DeviceItemType | xs:string | CPU
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | PositionNumber | xs:int | 1
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | BuiltIn | xs:boolean | false
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | TypeIdentifier | xs:string | OrderNumber:6ES7 515-2AM01-0AB0
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | InstallationDate | xs:dateTime | 2017-06-07T09:33:42.4110469Z
8f5b3810-818b-4f10-99cd-813bb8c2d028 | MPU-PLC_K755 | FirmwareVersion | xs:string | V2.1
4f04eac1-be94-4cd6-9d0f-38f0b5d31dc3 | CPU display_1 | PositionNumber | xs:int | 3
4f04eac1-be94-4cd6-9d0f-38f0b5d31dc3 | CPU display_1 | BuiltIn | xs:boolean | true
c253b75d-c5b5-459d-a1be-50e479b1bf79 | Card reader/writer_1 | PositionNumber | xs:int | 4
c253b75d-c5b5-459d-a1be-50e479b1bf79 | Card reader/writer_1 | BuiltIn | xs:boolean | true
c728c4d5-07e4-4866-b112-3b6bbd857bb4 | OPC UA_1 | PositionNumber | xs:int | 254
c728c4d5-07e4-4866-b112-3b6bbd857bb4 | OPC UA_1 | BuiltIn | xs:boolean | true
8e5d5215-f561-4ed4-afb1-c8d8d59c9cf3 | PROFINET interface_1 | Label | xs:string | X1
8e5d5215-f561-4ed4-afb1-c8d8d59c9cf3 | PROFINET interface_1 | PositionNumber | xs:int | 32768
8e5d5215-f561-4ed4-afb1-c8d8d59c9cf3 | PROFINET interface_1 | BuiltIn | xs:boolean | true
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | SubnetMask | xs:string | 255.255.254.0
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | RouterAddress | xs:string | 10.59.100.1
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | IpProtocolSelection | xs:string | Project
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | ProfinetDeviceName | xs:string | mpu-plc_k755.profinet interface_1
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | Type | xs:string | Ethernet
e58e877f-a1f9-4a18-b5f5-e9afd1819697 | E1 | NetworkAddress | xs:string | 10.59.100.120
e95d8348-b4fa-486c-93a2-121fe40f8465 | Port_1 | Label | xs:string | P1 R
e95d8348-b4fa-486c-93a2-121fe40f8465 | Port_1 | PositionNumber | xs:int | 32769
e95d8348-b4fa-486c-93a2-121fe40f8465 | Port_1 | BuiltIn | xs:boolean | true
37420c28-7948-45e3-906f-969b7b4a8c71 | Port_2 | Label | xs:string | P2 R
37420c28-7948-45e3-906f-969b7b4a8c71 | Port_2 | PositionNumber | xs:int | 32770
37420c28-7948-45e3-906f-969b7b4a8c71 | Port_2 | BuiltIn | xs:boolean | true
1f3fcd3b-3e75-42e2-b4fe-d960974d6b7b | PROFINET interface_2 | Label | xs:string | X2
1f3fcd3b-3e75-42e2-b4fe-d960974d6b7b | PROFINET interface_2 | PositionNumber | xs:int | 33024
1f3fcd3b-3e75-42e2-b4fe-d960974d6b7b | PROFINET interface_2 | BuiltIn | xs:boolean | true
f26aad75-f711-4afb-9dc9-319862d5072b | E1 | SubnetMask | xs:string | 255.255.0.0
f26aad75-f711-4afb-9dc9-319862d5072b | E1 | IpProtocolSelection | xs:string | Project
f26aad75-f711-4afb-9dc9-319862d5072b | E1 | ProfinetDeviceName | xs:string | mpu-plc_k755.profinet interface_2
f26aad75-f711-4afb-9dc9-319862d5072b | E1 | Type | xs:string | Ethernet
f26aad75-f711-4afb-9dc9-319862d5072b | E1 | NetworkAddress | xs:string | 10.124.1.11
410523d0-c6aa-43c7-ae43-558280899aeb | PROFINET IO-System | Number | xs:int | 100
e972f3ce-e9d8-48c9-8bc7-3d18aadd634e | Port_1 | Label | xs:string | P1
e972f3ce-e9d8-48c9-8bc7-3d18aadd634e | Port_1 | PositionNumber | xs:int | 33025
e972f3ce-e9d8-48c9-8bc7-3d18aadd634e | Port_1 | BuiltIn | xs:boolean | true
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | TypeName | xs:string | CP 1542-5
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | PositionNumber | xs:int | 2
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | BuiltIn | xs:boolean | false
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | TypeIdentifier | xs:string | OrderNumber:6GK7 542-5FX00-0XE0
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | InstallationDate | xs:dateTime | 2017-06-07T10:32:40.7517767Z
510f151a-5fb1-479c-933b-c37cfa65dc9c | CP 1542-5_1 | FirmwareVersion | xs:string | V1.0
c128acdd-63ca-4943-a230-d4775cb75c53 | PROFIBUS interface | Label | xs:string | X1
c128acdd-63ca-4943-a230-d4775cb75c53 | PROFIBUS interface | PositionNumber | xs:int | 32768
c128acdd-63ca-4943-a230-d4775cb75c53 | PROFIBUS interface | BuiltIn | xs:boolean | true
9db02250-335b-4db2-9c12-e6dd67880534 | P1 | Type | xs:string | Profibus
9db02250-335b-4db2-9c12-e6dd67880534 | P1 | NetworkAddress | xs:string | 4
29e08ae9-e73a-4c35-b930-c198b2d1ae18 | DP-Mastersystem | Number | xs:int | 1
d2cff3d9-b66a-4474-b59c-ce23d9ee94f3 | E6-OXF-HST-01 | TypeIdentifier | xs:string | System:Device.PC
66ae7eb9-a6a3-49eb-b9df-61716278d4b4 | SIMATIC PC station | TypeName | xs:string | Rail
66ae7eb9-a6a3-49eb-b9df-61716278d4b4 | SIMATIC PC station | PositionNumber | xs:int | 0
66ae7eb9-a6a3-49eb-b9df-61716278d4b4 | SIMATIC PC station | BuiltIn | xs:boolean | false
66ae7eb9-a6a3-49eb-b9df-61716278d4b4 | SIMATIC PC station | TypeIdentifier | xs:string | System:Rack.PC
4aaf6e93-5998-4463-87d5-fc9d5b881c9f | IE general_1 | TypeName | xs:string | IE General
4aaf6e93-5998-4463-87d5-fc9d5b881c9f | IE general_1 | PositionNumber | xs:int | 1
4aaf6e93-5998-4463-87d5-fc9d5b881c9f | IE general_1 | BuiltIn | xs:boolean | false
4aaf6e93-5998-4463-87d5-fc9d5b881c9f | IE general_1 | TypeIdentifier | xs:string | OrderNumber:IE_CP
4aaf6e93-5998-4463-87d5-fc9d5b881c9f | IE general_1 | FirmwareVersion | xs:string | SW V8.2 ...
6d0eb30c-1f8a-46d2-ba8c-0472a8289c3c | PROFINET interface | Label | xs:string | 0
6d0eb30c-1f8a-46d2-ba8c-0472a8289c3c | PROFINET interface | PositionNumber | xs:int | 1
6d0eb30c-1f8a-46d2-ba8c-0472a8289c3c | PROFINET interface | BuiltIn | xs:boolean | true
6d0eb30c-1f8a-46d2-ba8c-0472a8289c3c | PROFINET interface | InterfaceAssignmentType | xs:string | 1
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | SubnetMask | xs:string | 255.255.254.0
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | RouterAddress | xs:string | 10.59.100.1
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | IpProtocolSelection | xs:string | Project
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | ProfinetDeviceName | xs:string | e6-oxf-hst-01.ie general_1
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | Type | xs:string | Ethernet
13a08bd0-e3ec-44e0-b2a5-87b2520d9297 | IE1 | NetworkAddress | xs:string | 10.59.100.10
b2bcc969-2fde-4ebb-ac2f-b8a622cec6f1 | Port_1 | Label | xs:string | P1
b2bcc969-2fde-4ebb-ac2f-b8a622cec6f1 | Port_1 | PositionNumber | xs:int | 1
b2bcc969-2fde-4ebb-ac2f-b8a622cec6f1 | Port_1 | BuiltIn | xs:boolean | true
aed12dbd-4666-4b66-adee-ad3d79d25ae7 | OPC Server_1 | TypeName | xs:string | OPC Server
aed12dbd-4666-4b66-adee-ad3d79d25ae7 | OPC Server_1 | PositionNumber | xs:int | 3
aed12dbd-4666-4b66-adee-ad3d79d25ae7 | OPC Server_1 | BuiltIn | xs:boolean | false
aed12dbd-4666-4b66-adee-ad3d79d25ae7 | OPC Server_1 | TypeIdentifier | xs:string | OrderNumber:OPC Server
aed12dbd-4666-4b66-adee-ad3d79d25ae7 | OPC Server_1 | FirmwareVersion | xs:string | SW V13 ...
1f705420-0a82-4221-9e98-9a0137a9fc0b | Stationmanager | PositionNumber | xs:int | 125
1f705420-0a82-4221-9e98-9a0137a9fc0b | Stationmanager | BuiltIn | xs:boolean | true